## Dashboard
Fairfield Maintenance Command Center
Interactive dashboard fed by the inspection, inventory, and recurring task sheets.
Inspections Logged |  |  | Inventory Items
Rooms Passed |  |  | Items to Reorder
Needs Follow-Up |  |  | Inventory Value
Rooms Failed |  |  | Critical Spares
Recurring Task Completion |  |  |  | Follow-Up Snapshot
Cadence | Completed | Total | Completion % | Room / Area | Priority
Daily
Weekly
Monthly

## Room Inspections
Detailed Room Inspections - Marriott Fairfield
Track guest rooms and public spaces with pass/follow-up/fail outcomes and system-level notes.
Date | Wing/Area | Floor | Room/Space | Inspection Status | HVAC | Plumbing | Electrical | Walls/Floors | Life Safety | Notes | Priority | Work Order | Assigned To | Target Date
2026-07-16 | North Tower | 1 | 101 | Pass | OK | OK | OK | OK | OK | Ready for guest turnover | Low | WO-2401 | Chief Engineer | 2026-07-16
2026-07-16 | North Tower | 1 | 104 | Follow-Up | Repair | OK | OK | OK | OK | PTAC making noise overnight | Medium | WO-2402 | HVAC Tech | 2026-07-17
2026-07-16 | South Tower | 2 | 214 | Fail | OK | Repair | OK | Repair | OK | Bathroom leak and damaged vinyl edge | High | WO-2403 | Maintenance Supervisor | 2026-07-16
2026-07-16 | South Tower | 3 | 318 | Pass | OK | OK | OK | OK | OK | Deep-clean complete | Low | WO-2404 | Room Inspector | 2026-07-18
2026-07-16 | Main Building | Lobby | Fitness | Follow-Up | OK | OK | Repair | OK | OK | Treadmill outlet trips under load | Medium | WO-2405 | Electrician | 2026-07-18

## Parts Inventory
Parts Inventory
Manage critical spares, reorder triggers, vendors, and storage locations.
Part ID | Category | Part Name | Equipment/Area | Vendor | Unit Cost | On Hand | Min Level | Reorder Qty | Lead Time (Days) | Reorder Status | Critical Item | Storage Location | Notes
INV-001 | HVAC | PTAC Filter | Guest Rooms | Grainger | 12.5 | 40 | 20 | 30 | 4 |  | Yes | Shelf A1 | Quarterly swap item
INV-002 | Electrical | LED 9W Bulb | Guest Rooms | Home Depot | 3.75 | 80 | 60 | 120 | 2 |  | Yes | Shelf B2 | Warm white standard
INV-003 | Plumbing | 1/2 in Supply Line | Bathrooms | Ferguson | 9.95 | 12 | 15 | 20 | 3 |  | No | Shelf C1 | Common faucet repair
INV-004 | Life Safety | Smoke Detector | Guest Rooms | HD Supply | 28 | 8 | 10 | 12 | 5 |  | Yes | Cage 1 | Serialized component
INV-005 | General | Door Closer | Hallways | Amazon Business | 45 | 6 | 4 | 6 | 2 |  | No | Shelf D4 | ADA compliant

## Daily Tasks
Daily Maintenance Tasks
Use this sheet to manage daily building checks, hotel operations walk-throughs, and shift handoffs.
Task ID | Area | Task | Assigned To | Frequency | Due Day/Date | Est. Minutes | Status | Last Completed | Notes
D-001 | Boiler Room | Check boiler pressure, temperature, and leak points | AM Engineer | Daily | Every Day | 20 | Complete | 2026-07-16 | Document readings in log book
D-002 | Pool | Verify pool chemistry and equipment alarms | PM Engineer | Daily | Every Day | 15 | In Progress | 2026-07-15 | Coordinate with front desk on closures
D-003 | Public Areas | Inspect lobby, corridors, and elevators for lighting or trip hazards | Shift Engineer | Daily | Every Day | 25 | Not Started | 2026-07-15 | Open work order for deficiencies
D-004 | Exterior | Check parking lot, signage, and entry doors | Shift Engineer | Daily | Every Day | 15 | Complete | 2026-07-16 | Note weather-related issues

## Weekly Tasks
Weekly Maintenance Tasks
Use this sheet to plan recurring weekly preventive maintenance work.
Task ID | Area | Task | Assigned To | Frequency | Due Day/Date | Est. Minutes | Status | Last Completed | Notes
W-001 | Guest Rooms | Test sample of PTAC units and clean return grilles | HVAC Tech | Weekly | Monday | 90 | Not Started | 2026-07-09 | Rotate floors weekly
W-002 | Fire Safety | Test emergency lighting and exit signage | Electrician | Weekly | Tuesday | 60 | Complete | 2026-07-15 | Log failures for replacement
W-003 | Water Systems | Flush low-use fixtures and inspect for odor | Plumber | Weekly | Wednesday | 45 | In Progress | 2026-07-10 | Focus on out-of-order rooms
W-004 | Exterior | Inspect roof drains, downspouts, and grounds irrigation | Grounds/Maintenance | Weekly | Friday | 75 | Not Started | 2026-07-11 | Escalate ponding issues immediately

## Monthly Tasks
Monthly Maintenance Tasks
Use this sheet to track higher-touch preventive maintenance and inventory routines.
Task ID | Area | Task | Assigned To | Frequency | Due Day/Date | Est. Minutes | Status | Last Completed | Notes
M-001 | Life Safety | Inspect fire extinguishers and document seal/pressure status | Chief Engineer | Monthly | 1st Business Day | 75 | Not Started | 2026-06-30 | Coordinate with vendor if replacement is needed
M-002 | Guest Rooms | Deep inspection of 10% of rooms with furnishings checklist | Maintenance Supervisor | Monthly | 2nd Week | 180 | In Progress | 2026-06-20 | Use room inspection sheet for findings
M-003 | Inventory | Cycle count critical spares and update reorder points | Storeroom Clerk | Monthly | 3rd Week | 120 | Complete | 2026-07-02 | Match with purchasing records
M-004 | Mechanical | Lubricate motors, bearings, and door hardware | Shift Engineer | Monthly | Last Week | 150 | Not Started | 2026-06-26 | Record used materials

## Lists (hidden)
Inspection Status | System Status | Priority | Task Status | Critical Item
Pass | OK | Low | Not Started | Yes
Follow-Up | Repair | Medium | In Progress | No
Fail | Replace | High | Complete
|  | Critical | Deferred